## Slide 1
Yiu Man Fung
Benjamin Hou
Benjamin Moffatt
Vit Patkunan

## Slide 2: Motivations
“A wearable system for monitoring movement of neonates”
Sensory feedback is essential in early life (spontaneous)
Connections to neural conditions such as cerebal palsy
Need a way to assess and quantify movement
Our product: NeoMate
NeoMate is a wearable system for monitoring movement of neonates
Live monitoring and logging of movement in all four limbs
Home and hospital version

## Slide 3
Features
Live measurement of moving limbs
Automated and
real-time data-logging
Home
Hospital
Cloud based uploading and storage
Mass monitoring of multiple NeoMates
Chart: Acitivity: Last 15 minutes
| 0.28491898148148148 | 0.28493055555555552 | 0.28493055555555552 | 0.28494212962962967 | 0.28494212962962967 | 0.28495370370370371 | 0.28495370370370371 | 0.28496527777777775 | 0.28496527777777775 | 0.28497685185185184 | 0.28497685185185184 | 0.28498842592592594 | 0.28498842592592594 | 0.28499999999999998 | 0.28499999999999998 | 0.28501157407407407 | 0.28502314814814816 | 0.28502314814814816 | 0.2850347222222222 | 0.2850347222222222 | 0.2850462962962963 | 0.2850462962962963 | 0.28505787037037039 | 0.28505787037037039 | 0.28506944444444443 | 0.28506944444444443 | 0.28508101851851853 | 0.28508101851851853 | 0.28509259259259262 | 0.28509259259259262 | 0.28510416666666666 | 0.28510416666666666 | 0.28511574074074075 | 0.28511574074074075 | 0.28512731481481485 | 0.28512731481481485 | 0.28513888888888889 | 0.28513888888888889 | 0.28515046296296293
Left Arm | 50 | 50 | 49 | 75 | 75 | 50 | 49 | 57 | 59 | 61 | 50 | 52 | 51 | 51 | 50 | 48 | 49 | 53 | 52 | 54 | 54 | 53 | 53 | 50 | 50 | 51 | 51 | 50 | 50 | 48 | 66 | 49 | 49 | 49 | 49 | 49 | 49 | 49 | 49
Right Arm | 42 | 42 | 43 | 53 | 94 | 63 | 48 | 64 | 55 | 60 | 44 | 45 | 48 | 48 | 47 | 47 | 51 | 70 | 69 | 67 | 76 | 68 | 53 | 48 | 43 | 44 | 45 | 47 | 47 | 47 | 59 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48
Left Leg | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 38 | 39 | 40 | 32 | 29 | 29 | 28 | 29 | 29 | 28 | 28 | 28 | 28 | 28 | 38 | 29 | 35 | 34 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27 | 27
Right Leg | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 44 | 37 | 38 | 38 | 25 | 25 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 26 | 44 | 60 | 49 | 39 | 25 | 26 | 26 | 26 | 26 | 26 | 26 | 27 | 26 | 27

## Slide 4: Design
4 flex sensors: one on each of the arms and legs
Sewn in pockets
Baby suit is machine washable (with electronics removed)
Chest pocket for electronics

## Slide 5
Flex sensors act as potentiometer
Voltage data are processed by mBed
Different ways of showing the output and result
  Android app for phones and tablet (real-time)
  Excel with Visual Basic for data logging and graph plotting (4 hours of tracking, up to 12 hours)
  Upload to cloud server for future use (Back-up)
Modular design: can be implemented for different sensors
Electronic design

## Slide 6
Implement more sensors, including breathing sensor
Printed circuit board
Enhanced bluetooth
Seizure alert
Accelerometer for orientation
Heartbeat monitoring
Future developments

## Slide 7: Questions?